## PLC
750-881
1 | 750-433 | HPU 1 table 1 pressure closed | HPU 1 table 1 pressure open | HPU 2 table 1 pressure closed | HPU 2 table 1 pressure open
2 | 750-433 | HPU 3 table 1 pressure closed | HPU 3 table 1 pressure open | HPU 4 table 1 pressure closed | HPU 4 table 1 pressure open
3 | 750-433 | HPU 5 table 1 pressure closed | HPU 5 table 1 pressure open | HPU 1 table 2 pressure closed | HPU 1 table 2 pressure open
4 | 750-433 | HPU 2 table 2 pressure closed | HPU 2 table 2 pressure open | HPU 3 table 2 pressure closed | HPU 3 table 2 pressure open
5 | 750-433 | HPU 4 table 2 pressure closed | HPU 4 table 2 pressure open | HPU 5 table 2 pressure closed | HPU 5 table 2 pressure open
6 | 750-433 | HPU 1 structural pressure closed | HPU 1 structural pressure open | HPU 2 structural pressure closed | HPU 2 structural pressure open
7 | 750-433 | HPU 3 structural pressure closed | HPU 3 structural pressure open | HPU 4 structural pressure closed | HPU 4 structural pressure open
8 | 750-433 | HPU 5 structural pressure closed | HPU 5 structural pressure open | spare | spare
9 | 750-433 | PILOT PRESSURE SWITCH #1 | PILOT PRESSURE SWITCH #2 | PILOT PRESSURE SWITCH #3 | PILOT PRESSURE SWITCH #4
10 | 750-433 | PILOT PRESSURE SWITCH #5 | PILOT PRESSURE SWITCH #6 | PILOT PRESSURE SWITCH #7 | PILOT PRESSURE SWITCH #8
11 | 750-433 | PILOT FILTER SWITCH #1 | PILOT FILTER SWITCH #2 | PILOT FILTER SWITCH #3 | PILOT FILTER SWITCH #4
12 | 750-433 | PILOT FILTER SWITCH #5 | PILOT FILTER SWITCH #6 | PILOT FILTER SWITCH #7 | PILOT FILTER SWITCH #8
13 | 750-433 | E-stop indicate 1 | E-stop indicate 2 | E-stop indicate 3 | E-stop indicate 4
14 | 750-433 | E-stop indicate 5 | E-stop indicate 6 | spare | safety relay status
15 | 750-433 | parking frame is down | parking frame is at park | spare | spare
16 | 750-474 | HPU D1 reservoir temperature | HPU P1 reservoir temperature
17 | 750-474 | HPU P2 reservoir temperature | HPU P3 reservoir temperature
18 | 750-474 | HPU P4 reservoir temperature | HPU P5 reservoir temperature
19 | 750-474 | System return temperature | Pilot return temperature
20 | 750-550 | HPU D1 pilot proportional valve | HPU D1 system proportional valve
21 | 750-550 | HPU P1 proportional valve | HPU P2 proportional valve
22 | 750-550 | HPU P3 proportional valve | HPU P4 proportional valve
23 | 750-550 | HPU P5 proportional valve | spare
24 | 750-602
25 | 750-512 | blowdown A arm | blowdown B arm | 1.3 | 1.3 | 2.6
26 | 750-602
27 | 750-512 | blowdown C arm | blowdown A dump | 1.3 | 1.25 | 2.55 | 5.15
28 | 750-602
29 | 750-512 | blowdown B dump | blowdown C dump | 1.25 | 1.25 | 2.5
30 | 750-602
31 | 750-512 | parking frame down | parking frame up | 1.3 | 1.3 |  | 5.1
32 | 750-600
10.25

## cables
| SIGNAL NAME | CABLE PN | MEASURED LENGTH (FT) | ORDER LENGTH | ORDER LENGTH | CORD GRIP | NOTES | insert
1 | HPU P1 table 1 pressure closed | 110820-01 | 60 | 92 | 100 | 100-185-602 | raw cable, cut to length on site, 0.283 O.D. | VK 7 5-hole | 1 |  | 18
2 | HPU P1 table 1 pressure open | 110820-01 | 60 | 92 | 100 | 100-185-602 | raw cable, cut to length on site, 0.283 O.D. |  | 2
3 | HPU P2 table 1 pressure closed | 110820-01 | 70 | 103.5 | 110 | 100-185-602 | raw cable, cut to length on site, 0.283 O.D. |  | 3
4 | HPU P2 table 1 pressure open | 110820-01 | 70 | 103.5 | 110 | 100-185-602 | raw cable, cut to length on site, 0.283 O.D. |  | 4
5 | HPU P3 table 1 pressure closed | 110820-01 | 80 | 115 | 120 | 100-185-602 | raw cable, cut to length on site, 0.283 O.D. |  | 5
6 | HPU P3 table 1 pressure open | 110820-01 | 80 | 115 | 120 | 100-185-602 | raw cable, cut to length on site, 0.283 O.D. | VK 7 5-hole | 1
7 | HPU P4 table 1 pressure closed | 110820-01 | 90 | 126.5 | 130 | 100-185-602 | raw cable, cut to length on site, 0.283 O.D. |  | 2
8 | HPU P4 table 1 pressure open | 110820-01 | 90 | 126.5 | 130 | 100-185-602 | raw cable, cut to length on site, 0.283 O.D. |  | 3
9 | HPU P5 table 1 pressure closed | 110820-01 | 100 | 138 | 140 | 100-185-602 | raw cable, cut to length on site, 0.283 O.D. |  | 4
10 | HPU P5 table 1 pressure open | 110820-01 | 100 | 138 | 140 | 100-185-602 | raw cable, cut to length on site, 0.283 O.D. |  | 5
11 | HPU P1 table 2 pressure closed | 110820-01 | 60 | 92 | 100 | 100-185-602 | raw cable, cut to length on site, 0.283 O.D. | VK 7 5-hole | 1
12 | HPU P1 table 2 pressure open | 110820-01 | 60 | 92 | 100 | 100-185-602 | raw cable, cut to length on site, 0.283 O.D. |  | 2
13 | HPU P2 table 2 pressure closed | 110820-01 | 70 | 103.5 | 110 | 100-185-602 | raw cable, cut to length on site, 0.283 O.D. |  | 3
14 | HPU P2 table 2 pressure open | 110820-01 | 70 | 103.5 | 110 | 100-185-602 | raw cable, cut to length on site, 0.283 O.D. |  | 4
15 | HPU P3 table 2 pressure closed | 110820-01 | 80 | 115 | 120 | 100-185-602 | raw cable, cut to length on site, 0.283 O.D. |  | 5
16 | HPU P3 table 2 pressure open | 110820-01 | 80 | 115 | 120 | 100-185-602 | raw cable, cut to length on site, 0.283 O.D. | VK 7 5-hole | 1
17 | HPU P4 table 2 pressure closed | 110820-01 | 90 | 126.5 | 130 | 100-185-602 | raw cable, cut to length on site, 0.283 O.D. |  | 2
18 | HPU P4 table 2 pressure open | 110820-01 | 90 | 126.5 | 130 | 100-185-602 | raw cable, cut to length on site, 0.283 O.D. |  | 3
19 | HPU P5 table 2 pressure closed | 110820-01 | 100 | 138 | 140 | 100-185-602 | raw cable, cut to length on site, 0.283 O.D. |  | 4
20 | HPU P5 table 2 pressure open | 110820-01 | 100 | 138 | 140 | 100-185-602 | raw cable, cut to length on site, 0.283 O.D. |  | 5
21 | HPU P1 structural pressure closed | 110820-01 | 60 | 92 | 100 | 100-185-602 | raw cable, cut to length on site, 0.283 O.D. | VK 7 5-hole | 1
22 | HPU P1 structural pressure open | 110820-01 | 60 | 92 | 100 | 100-185-602 | raw cable, cut to length on site, 0.283 O.D. |  | 2
23 | HPU P2 structural pressure closed | 110820-01 | 70 | 103.5 | 110 | 100-185-602 | raw cable, cut to length on site, 0.283 O.D. |  | 3
24 | HPU P2 structural pressure open | 110820-01 | 70 | 103.5 | 110 | 100-185-602 | raw cable, cut to length on site, 0.283 O.D. |  | 4
25 | HPU P3 structural pressure closed | 110820-01 | 80 | 115 | 120 | 100-185-602 | raw cable, cut to length on site, 0.283 O.D. |  | 5
26 | HPU P3 structural pressure open | 110820-01 | 80 | 115 | 120 | 100-185-602 | raw cable, cut to length on site, 0.283 O.D. | VK 7 5-hole | 1
27 | HPU P4 structural pressure closed | 110820-01 | 90 | 126.5 | 130 | 100-185-602 | raw cable, cut to length on site, 0.283 O.D. |  | 2
28 | HPU P4 structural pressure open | 110820-01 | 90 | 126.5 | 130 | 100-185-602 | raw cable, cut to length on site, 0.283 O.D. |  | 3
29 | HPU P5 structural pressure closed | 110820-01 | 100 | 138 | 140 | 100-185-602 | raw cable, cut to length on site, 0.283 O.D. |  | 4
30 | HPU P5 structural pressure open | 110820-01 | 100 | 138 | 140 | 100-185-602 | raw cable, cut to length on site, 0.283 O.D. |  | 5
31 | PILOT PRESSURE SWITCH Y 6/8 | 110820-01 | 65 | 74.75 | 80 | 010-053-418 | raw cable, cut to length on site, 0.283 O.D. | VK 7 5-hole | 1
32 | PILOT PRESSURE SWITCH Y 2/4 | 110820-01 | 88 | 101.2 | 110 | 010-053-418 | raw cable, cut to length on site, 0.283 O.D. |  | 2
33 | PILOT PRESSURE SWITCH Z2 | 110820-01 | 101 | 116.15 | 120 | 010-053-418 | raw cable, cut to length on site, 0.283 O.D. |  | 3
34 | PILOT PRESSURE SWITCH Z1 | 110820-01 | 128 | 147.2 | 150 | 010-053-418 | raw cable, cut to length on site, 0.283 O.D. |  | 4
35 | PILOT PRESSURE SWITCH Y 1/3 | 110820-01 | 141 | 162.15 | 170 | 010-053-418 | raw cable, cut to length on site, 0.283 O.D. |  | 5
36 | PILOT PRESSURE SWITCH Y 5/7 | 110820-01 | 164 | 188.6 | 190 | 010-053-418 | raw cable, cut to length on site, 0.283 O.D. | VK 7 5-hole | 1
37 | PILOT PRESSURE SWITCH Z3 | 110820-01 | 176 | 202.4 | 210 | 010-053-418 | raw cable, cut to length on site, 0.283 O.D. |  | 2
38 | PILOT PRESSURE SWITCH Z4 | 110820-01 | 204 | 234.6 | 240 | 010-053-418 | raw cable, cut to length on site, 0.283 O.D. |  | 3 | 2 plugs
39 | PILOT FILTER SWITCH Y 6/8 | like 576367-xx but 2 wire and 90 deg connector | 65 | 74.75 | 80 | none | see mark-up Pall switch, c = com, a = n.c., b = n.o, 0.329" OD | VK 8 5-hole | 1
40 | PILOT FILTER SWITCH Y 2/4 | like 576367-xx but 2 wire and 90 deg connector | 88 | 101.2 | 110 | none | see mark-up Pall switch, c = com, a = n.c., b = n.o, 0.329" OD |  | 2
41 | PILOT FILTER SWITCH Z2 | like 576367-xx but 2 wire and 90 deg connector | 101 | 116.15 | 120 | none | see mark-up Pall switch, c = com, a = n.c., b = n.o, 0.329" OD |  | 3
42 | PILOT FILTER SWITCH Z1 | like 576367-xx but 2 wire and 90 deg connector | 128 | 147.2 | 150 | none | see mark-up Pall switch, c = com, a = n.c., b = n.o, 0.329" OD |  | 4
43 | PILOT FILTER SWITCH Y 1/3 | like 576367-xx but 2 wire and 90 deg connector | 141 | 162.15 | 170 | none | see mark-up Pall switch, c = com, a = n.c., b = n.o, 0.329" OD |  | 5
44 | PILOT FILTER SWITCH Y 5/7 | like 576367-xx but 2 wire and 90 deg connector | 164 | 188.6 | 190 | none | see mark-up Pall switch, c = com, a = n.c., b = n.o, 0.329" OD | VK 8 5-hole | 1
45 | PILOT FILTER SWITCH Z3 | like 576367-xx but 2 wire and 90 deg connector | 176 | 202.4 | 210 | none | see mark-up Pall switch, c = com, a = n.c., b = n.o, 0.329" OD |  | 2
46 | PILOT FILTER SWITCH Z4 | like 576367-xx but 2 wire and 90 deg connector | 204 | 234.6 | 240 | none | see mark-up Pall switch, c = com, a = n.c., b = n.o, 0.329" OD |  | 3 | 2 plugs
47 | desk E-stop | 100-240-042 | 350 | 402.5 | 410 | none | raw cable, cut to length on site, 0.529 O.D. | VK 14 2-hole | 1
48 | pump room E-stop | 100-240-042 | 150 | 172.5 | 180 | none | raw cable, cut to length on site, 0.529 O.D. |  | 2
49 | pit E-stop #1 | 100-240-042 | 200 | 230 | 240 | none | raw cable, cut to length on site, 0.529 O.D. | VK 14 2-hole | 1
50 | pit E-stop #2 | 100-240-042 | 200 | 230 | 240 | none | raw cable, cut to length on site, 0.529 O.D. |  | 2
51 | E-stop pedestal #1 | 576381-xx | 150 | 172.5 | 180 | none | 0.529 O.D. | VK 14 2-hole | 1
52 | E-stop pedestal #2 | 576381-xx | 200 | 230 | 240 | none | 0.529 O.D. |  | 2
53 | HPU D1 pilot proportional valve | like 100-282-739 accept -XX | 60 | 92 |  | none | 0.170 O.D. | VK 5 8-hole | 1
54 | HPU P2 proportional valve | like 100-282-739 accept -XX | 70 | 109.25 | 120 | none | 0.170 O.D. |  | 2
55 | HPU P3 proportional valve | like 100-282-739 accept -XX | 80 | 120.75 | 130 | none | 0.170 O.D. |  | 3
56 | HPU P4 proportional valve | like 100-282-739 accept -XX | 90 | 132.25 | 140 | none | 0.170 O.D. |  | 4
57 | HPU P5 proportional valve | like 100-282-739 accept -XX | 100 | 143.75 | 150 | none | 0.170 O.D. |  | 5
58 | HPU P6 proportional valve | like 100-282-739 accept -XX | 110 | 155.25 | 160 | none | 0.170 O.D. |  | 6 | 2 plugs
59 | HPU D1 reservoir temperature | RK 4.5T-XX/S90 | 60 | 97.75 | 100 | none | .22 OD | VK 6 8-hole | 1
60 | HPU P1 reservoir temperature | RK 4.5T-XX/S90 | 70 | 109.25 | 120 | none | .22 OD |  | 2
61 | HPU P2 reservoir temperature | RK 4.5T-XX/S90 | 80 | 120.75 | 130 | none | .22 OD |  | 3
62 | HPU P3 reservoir temperature | RK 4.5T-XX/S90 | 90 | 132.25 | 140 | none | .22 OD |  | 4
63 | HPU P4 reservoir temperature | RK 4.5T-XX/S90 | 100 | 143.75 | 150 | none | .22 OD |  | 5
64 | HPU P5 reservoir temperature | RK 4.5T-XX/S90 | 110 | 155.25 | 160 | none | .22 OD |  | 6
65 | System return temperature | RK 4.5T-XX/S90 | 40 | 74.75 | 80 | none | .22 OD |  | 7
66 | Pilot return temperature | RK 4.5T-XX/S90 | 30 | 63.25 | 80 | none | .22 OD |  | 8
67 | RIO to HPU D1 E-stop input | WK 4.4T-XX/S90 | 70 | 109.25 | 120 | none | .22 OD | VK 6 8-hole | 1
68 | HPU D1 to HPU P1 E-stop input | 575610-xx | 50 | 86.25 | 90 | none | need m12 4S connector |  | 2
69 | HPU P1 to HPU P2 E-stop input | 575610-xx | 50 | 86.25 | 90 | none | need m12 4S connector |  | 3
70 | HPU P2 to HPU P3 E-stop input | 575610-xx | 50 | 86.25 | 90 | none | need m12 4S connector |  | 4
71 | HPU P3 to HPU P4 E-stop input | 575610-xx | 50 | 86.25 | 90 | none | need m12 4S connector |  | 5
72 | HPU P4 to HPU P5 E-stop input | 575610-xx | 50 | 86.25 | 90 | none | need m12 4S connector |  | 6
73 | HPU P5 to HPU P6 E-stop input | 575610-xx | 50 | 86.25 | 90 | none | need m12 4S connector |  | 7
74 | HPU P6 E-stop input jumper | 100-210-302 | NA |  |  | none | need m12 4S connector |  | 8
75 | HPU D1 E-stop out | WK 4.4T-XX/S90 | 70 | 109.25 | 120 | none | need m12 4P connector | VK 6 8-hole | 1
76 | HPU P1 E-stop out | WK 4.4T-XX/S90 | 80 | 120.75 | 130 | none | need m12 4P connector |  | 2
77 | HPU P2 E-stop out | WK 4.4T-XX/S90 | 90 | 132.25 | 140 | none | need m12 4P connector |  | 3
78 | HPU P3 E-stop out | WK 4.4T-XX/S90 | 100 | 143.75 | 150 | none | need m12 4P connector |  | 4
79 | HPU P4 E-stop out | WK 4.4T-XX/S90 | 110 | 155.25 | 160 | none | need m12 4P connector |  | 5
80 | HPU P5 E-stop out | WK 4.4T-XX/S90 | 120 | 166.75 | 170 | none | need m12 4P connector |  | 6 | 2 plugs
81 | blowdown #1 arm | 532590-xx | 40 | 69 | 80 | none |  | VK 7 5-hole | 1
82 | blowdown #2 arm | 532590-xx | 30 | 57.5 | 70 | none |  |  | 2
83 | blowdown #3 arm | 532590-xx | 20 | 46 | 50 | none |  |  | 3
84 | blowdown #1 dump | 532590-xx | 40 | 69 | 80 | none |  |  | 4
85 | blowdown #2 dump | 532590-xx | 30 | 57.5 | 70 | none |  |  | 5
86 | blowdown #3 dump | 532590-xx | 20 | 46 | 50 | none |  | VK 7 5-hole | 1
87 | parking frame up solenoid | 532590-xx | 104 | 142.6 | 150 | none |  |  | 2
88 | parking frame down solenoind | 532590-xx | 104 | 142.6 | 150 | none |  |  | 3
89 | parking frame limit | 110820-05 | 82 | 117.3 | 130 | 100-185-602 |  |  | 4 | 1 plug
[7 empty] | spare | VK 14 2-hole | 1 | plug
[7 empty] | spare |  | 2 | plug
[7 empty] | spare | VK 14 2-hole | 1 | plug
[7 empty] | spare |  | 2 | plug
[7 empty] | spare | VK 7 5-hole | 1 | plug
[7 empty] | spare |  | 2 | plug
[7 empty] | spare |  | 3 | plug
[7 empty] | spare |  | 4 | plug
[7 empty] | spare |  | 5 | plug
[7 empty] | spare | VK 7 5-hole | 1 | plug
[7 empty] | spare |  | 2 | plug
[7 empty] | spare |  | 3 | plug
[7 empty] | spare |  | 4 | plug
[7 empty] | spare | VK 8 5-hole | 1 | plug
[7 empty] | spare |  | 2 | plug
[7 empty] | spare |  | 3 | plug
[7 empty] | spare |  | 4 | plug
[7 empty] | spare |  | 5 | plug
[11 empty] | VK 5 8-hole | 1 | 2 plug
[11 empty] | VK 6 8-hole | 3 | 2 plug
[11 empty] | VK 7 5-hole | 12 | 12 plug
[11 empty] | VK 8 5-hole | 3 | 7 plug
[11 empty] | VK 14 2-hole | 5 | 4 plug
24

## TBs
| A | B | C | D
46 | MAIN FEED | PLC
47 | SR1 | SR2
48
49
50
51 | ENET SW 1 | ENET SW 2
52
53
54
55
56
57
58
59
60 | MAIN FEED | PLC | SR1
61 | SR1 | SR2
62 | plc slot 24 | plc slot 26 | plc slot 28 | plc slot 30
63
64
65 | ENET SW1 | ENET SW 2