## Sheet1
Notice Type | Notice (Message) | Description | Action (Spreadsheet) | Action Before Upgrade | Action After Upgrade | Error Factor | Notice Source | PowerPC reboot? | Shaking Table Behavior
TBL Msg Log | STOP1 Action Sequence | Stop Dynamic Program | STOP1 |  |  | Table Controller Limit Detector | Limit Detector Panel | NO | Stop Dynamic Program
| MHI-initiated STOP1 Action Sequence | Stop Dynamic Program | STOP1 |  |  | MHI PLC sends STOP1 to MTS | MHI PLC | NO | Stop Dynamic Program
| STOP2 Action Sequence | Stop Dynamic Program + Park Table | STOP2 |  |  | Table Controller Limit Detector | Limit Detector Panel | NO | Stop Dynamic Program + Park Table
| MHI-initiated STOP2 Action Sequence | Stop Dynamic Program + Park Table | STOP2 |  |  | MHI PLC sends STOP2 to MTS | MHI PLC | NO | Stop Dynamic Program + Park Table
| STOP2 Action Sequence | Stop Dynamic Program + Park Table | STOP2 |  |  | SVC Controller STOP panel button | SVC Hardware Button | NO | Stop Dynamic Program + Park Table
|  |  | STOP2 |  |  | SVC Controller PowerPC Hdwe Watchdog | Bren-Tek Relay Light | YES | Loss of SVC Axis Control
|  |  | STOP2 |  |  | SVC Controller PowerPC S/W Watchdog | SVC E-Stop | YES | Loss of SVC Axis Control
|  |  | STOP2 |  |  | DOC Controller STOP panel button | SVC Hardware Button | NO | Stop Dynamic Program + Park Table
|  |  | STOP2 |  |  | DOC Controller PowerPC Hdwe Watchdog | Bren-Tek Relay Light | NO | Stop Dynamic Program + Park Table
|  |  | STOP2 |  |  | DOC Controller PowerPC S/W Watchdog | DOC E-Stop | NO | Stop Dynamic Program + Park Table
|  |  | STOP2 |  |  | DLG Controller STOP panel button | SVC Hardware Button | NO | Stop Dynamic Program + Park Table
|  |  | STOP2 |  |  | DLG Controller PowerPC Hdwe Watchdog | Bren-Tek Relay Light | NO | Stop Dynamic Program + Park Table
|  |  | STOP2 |  |  | DLG Controller PowerPC S/W Watchdog | DLG E-Stop | NO | Stop Dynamic Program + Park Table
|  |  | STOP2 |  |  | TBL Controller STOP panel button | SVC Hardware Button | NO | Stop Dynamic Program + Park Table
|  |  | STOP2 |  |  | TBL Controller PowerPC Hdwe Watchdog | Bren-Tek Relay Light | YES | Loss of DOF Control
|  |  | STOP2 |  |  | TBL Controller PowerPC S/W Watchdog | TBL E-Stop | YES | Loss of DOF Control
| STOP3 Action Sequence | Stop Dynamic Program + Park Table + Hyd OFF | STOP3 |  |  | Table Controller Limit Detector | Limit Detector Panel | NO | Stop Dynamic Program + Park Table + Hyd OFF
| MHI-initiated STOP3 Action Sequence | Stop Dynamic Program + Park Table + Hyd OFF | STOP3 |  |  | MHI PLC sends STOP3 to MTS | MHI PLC | NO | Stop Dynamic Program + Park Table + Hyd OFF
| STOP3 Action Sequence | Stop Dynamic Program + Park Table + Hyd OFF | STOP3 |  |  | SVX Controller Scramnet Error | SVX Scramnet Lamp | YES | Loss of Control of X Axis
|  |  | STOP3 |  |  | SVY Controller Scramnet Error | SVY Scramnet Lamp | YES | Loss of Control of Y Axis
|  |  | STOP3 |  |  | SVZ Controller Scramnet Error | SVZ Scramnet Lamp | YES | Loss of Control of Z Axis
|  |  | STOP3 |  |  | DOC Controller Scramnet Error | DOC Scramnet Lamp | YES | Stop Dynamic Program + Park Table + Hyd OFF
|  |  | STOP3 |  |  | TBL Controller Scramnet Error | TBL Scramnet Lamp | YES | Loss of Table Control